LymTal International, Inc.

Waterproofing Products

Guide Specification

Section 05800

ISO-FLEX XTREME SEISMIC

EXPANSION JOINT SEALING SYSTEM

## PART 1 – GENERAL

  - WORK INCLUDED

The work shall consist of furnishing and installing expansion joints in accordance with the details shown on the plans and the requirements of the specifications.  The joints utilize extruded aluminum shapes, moisture barriers and anchorage systems.

  - RELATED DOCUMENTS

Drawings and provisions of the contract, including General and Supplementary Conditions apply to this section.

  - QUALITY ASSURANCE

- Prequalification of bidders:  Submit proposed subcontractors to the engineer prior to bid. Specifier retains absolutely the right to reject any manufacturer submitted.

- Prequalification of bidders:  Submit proposed subcontractors to the engineer prior to bid.  Qualification criteria shall include compliance with 1.03-A above.  Specifier retains absolutely the right to reject any applicator or manufacturer submitted.

- A site inspection shall be made by the contractor prior to commencing installation of the specified system, for the purpose of reviewing related conditions affecting performance requirements of this specification.

- All products described in this section must be used with adequate personal protection.  Refer to the Material Safety Data Sheet that accompanies each product shipment for detailed health and safety information prior to use.

- Single Source Responsibility: Obtain expansion joint cover assemblies for the project from one source and the same manufacturer.

  - SUBMITTALS

- A detailed statement describing the expansion joint sealing system to be installed including typical cross section details with pertinent dimensioning, general construction, component connections and anchorage methods. Installers shall prepare and submit details of all special conditions to the manufacturer for review and approval prior to installation.

- Substitutions: Any proposed alternate systems must be submitted and received 21 days prior to bid to avoid project delay. All post bid submittals will not be considered. Any manufacturer wishing to submit for prior approval must provide information that describes how system is considered superior to the specified system and include a 6” long sample of each expansion joint assembly for approval.

## PART 2 – PRODUCTS

  - MATERIALS

Provide the Iso-Flex Xtreme Seismic expansion joint system, as manufactured by LymTal International, Inc. and as indicated on drawings. The system shall be a heavy-duty seismic design capable of 50% +/- movement. The system will be capable of supporting vehicular traffic while safely accommodating pedestrian traffic. The design shall be of a self-centered cover plate design having a spring tensioned and impact dampened guide bar assemblage. The system shall incorporate a continuous locking mechanism to house a replaceable moisture barrier assembly.

Select surface mounted Xtreme Seismic expansion joint cover:

- XS Series Xtreme Seismic Joint System-

or

Select recess mounted Xtreme Seismic expansion joint cover:

- XR Series Xtreme Seismic Joint System-

  - COMPONENT PROPERTIES

- Aluminum Extrusions-  Material to conform to properties of ASTM B221; alloy 6003-T3 or 6063-T6.

- Aluminum Plates and Shapes- Material to conform to ASTM B209; alloy 3003-H14.

- Aluminum Castings- Material to be cast of 356-T6 alloy.

- Moisture Barrier (if required)- Shall be a 70 durometer, extruded PVC material. Minimum thickness shall be .09”.

- Anchorage- Provide minimum 3/8” diameter concrete expansion anchors at maximum 18” O.C. spacing to secure to floor slab.

- Accessories

  - Cover Plates shall be a minimum thickness of 3/8” and shall be extruded or machined to incorporate a beveled edge configuration.

  - Guide bar assemblies shall be comprised of extruded aluminum channels factory welded to cast aluminum end sockets. The assembly must incorporate a 3/8” diameter, stainless steel screw for attachment to the cover plate. The assembly will utilize a rubber impact attenuator as well as a coil spring tensioner.

  - Wing Plates (XR system) shall be comprised of formed aluminum sheet of a minimum .19” thickness. Wing Plates shall be field attached to base members utilizing ¼” screws @ 18” O.C.

  - Xtreme Silencer (XS system) is an optional 90 durometer thermoplastic isolater that will reduce noise resulting from live load impact.

  - Blockout infill material shall be Iso-Flex 900 Elastomeric Concrete. The material is comprised of a 3 component polyurethane matrix with graded aggregate.

  - Fabrication

- Extrusions and generic profiles shall be shipped in standard 10 Ft. lengths and shall be cut to length on the jobsite when required. Profiles shall be miter cut in the field to conform to directional changes unless otherwise contracted with expansion joint manufacturer.

  - Finishes

- Aluminum extrusions shall be supplied in standard mill finish.

PART 3 – EXECUTION

  - Installation

- Protect all expansion joint components from damage during the placement of concrete; work in adjacent areas and construction traffic until completion of structure.

- Expansion joint systems shall be set to the proper width for the ambient temperature at time of installation.  Properly align all extrusions and shapes to ensure proper joint performance. Refer to the manufacturers “Installation Procedure Package” for Xtreme Seismic Expansion Joint Systems.

- Expansion joint systems shall be installed in strict accordance with the manufacturer’s typical details and instructions.

  - Clean and Protect

- Protect system and its components during construction. Heavy construction vehicles will not be permitted to cross the joint without specific and written permission by the engineer. Subsequent damage to the expansion joint system shall be repaired at the contractor’s expense. After work is complete in adjacent areas, clean excess adhesive from elastomeric seal with a suitable cleaner that will not harm or attack material.

-end-